## Slide 1: CANopen
발표자 : 박병훈

## Slide 2: 순서
  - CAN
  . CAN통신 소개
  CANopen
  . CANopen 소개
  . CANopen 응용분야
  . Object Dictionary

## Slide 3: Anybus-IC Overview
integrated galvanic isolation
application interface pins SSC, MIF, SCI
Anybus NP30 microcontroller including network ASIC, RAM & Flash memory
network interface pins
DIL-32 chip socket (not included in delivery)
single 5 Volt supply
Dimensions: 42 x 21 x 15 mm (L x W x H)

## Slide 5
LD
DI2
Anybus-IC
CLK
DO
The hardware interface consists of two asynchronous serial ports, a synchronous interface for direct I/O and the network interface
Network Interface (function depending on specific network type)
Direct IO Interface (SSI)
Synchronous Serial Interface (TTL Signal Levels)
Reset
DI1
TX
RX
UART Interface (SCI)
Serial Communication Interface
(TTL Signal Levels)
TX
RX
UART Interface (MIF)
Monitor & Configuration Interface (TTL Signal Levels)
GND
5V
Power Supply 5 Volt

## Slide 6
A
D
Analog Input
D
A
Analog Output
Digital Input
Node Address
Diag LED´s
Digital Output
Serial UART Interface
Serial Configuration Interface
5 Volt Supply
Shift Register
Network independent
device electronics
Shift Register
Shift Register
Shift Register
Shift Register
Shift Register
Network specific
interface
LD
DI
Anybus-IC
CLK
DO
Via its synchronous SSC interface, the Anybus-IC can control up to 128 bit direct Inputs and max 128 bit direct Outputs

## Slide 7
The software interface is based on a subset of the serial Modbus-RTU communication protocol
Host microcontroller
Anybus-IC
Modbus-RTU Master
Modbus-RTU Slave
request frame
response frame
contains a function code, address, data, parameter
contains a CRC checksum (can be switched off)
Each frame:
consists of a request and a response frame
is time controlled with a watchdog function
Each Sequence:
Network Interface
SCI Interface

## Slide 8
SCI 인터페이스
통신 프로토콜 : MODBUS-RTU
SCI_TX : PIN 30
SCI_RX : PIN 31
SCI_DE : PIN29(for 485)

## Slide 9
Function code

## Slide 10
Register Map

## Slide 11
Data Exchange(2000h~5FFFh)